## Bin 2
BIN 2 DEMONSTRATION OF TREATMENT PERFORMANCE UNDER LT2ESWTR
INDIVIDUAL FILTER TURBIDITY MONITORING REPORT
PWS NAME | [6 empty] | MONTH |  |  |  | YR
PWS ID # |  |  |  | WTP NAME
Day | Reporting of individual filter effluent (IFE) turbidity measurements recorded every 15 minutes on water that enters into the clearwell. (Additional forms are required for systems with greater than 4 filters.)
| Filter # |  |  | Filter # |  |  | Filter # |  |  | Filter #
| Total # Values | # of Values > 0.15 NTU | Did the IFE exceed 0.3 NTU in any two consecutive 15-minute measurements? (Yes / No) | Total # Values | # of Values > 0.15 NTU | Did the IFE exceed 0.3 NTU in any two consecutive 15-minute measurements? (Yes / No) | Total # Values | # of Values > 0.15 NTU | Did the IFE exceed 0.3 NTU in any two consecutive 15-minute measurements? (Yes / No) | Total # Values | # of Values > 0.15 NTU | Did the IFE exceed 0.3 NTU in any two consecutive 15-minute measurements? (Yes / No)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total
% > 0.15
Note: The %>0.15 is calculated by dividing the total # of measurements >0.15 NTU by the total # of measurements .
Attach Reason, if known, for exceedances above the 0.15 NTU and / or 0.3 NTU Individual Filter Turbidity Levels.
I certify the information in this report is true and accurate to the best of my knowledge. I acknowledge that any knowingly
false or misleading information may be punishable under the 18USC 1001 and other applicable laws.
Printed Name: | [7 empty] | Title:
Signature: | [7 empty] | Date:
Make a copy for your records and return by the tenth of the following month to : | [6 empty] | Arkansas Department of Health, Engineering Section (MS37)
4815 West Markham, Little Rock, AR 72205-3867